{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202"],"read":"whole","date_system":"1900"}

{"sheet":"恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202","index":0,"n_rows":38,"n_cols":11,"rows_kept":38,"merged":[[0,0,0,10],[1,0,2,0],[1,1,1,2],[1,3,1,4],[1,5,1,6],[1,7,1,8]]}
["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报20211"]
["监测时间","COD",null,"氨氮",null,"总磷",null,"总氮",null,"pH","水流量"]
[null,"浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","","吨"]
["2021-01-01 00:00:00","5.249","128.381","0.637","14.867","0.286","6.815","7.164","171.921","6.477","24019.497"]
["2021-01-02 00:00:00","5.681","135.708","0.947","21.234","0.294","6.908","7.839","188.911","6.42","24008.973"]
["2021-01-03 00:00:00","5.408","131.578","0.752","17.486","0.249","5.97","9.95","239.555","6.275","24052.929"]
["2021-01-04 00:00:00","6.136","150.2","0.232","5.673","0.21","5.158","9.773","239.416","6.378","24485.247"]
["2021-01-05 00:00:00","6.164","146.639","0.182","4.422","0.18","4.261","7.943","189.126","6.399","23771.361"]
["2021-01-06 00:00:00","6.542","158.456","0.188","4.541","0.279","6.766","5.947","144.531","6.44","24322.806"]
["2021-01-07 00:00:00","6.593","156.919","0.863","20.258","0.28","6.642","5.822","138.98","6.427","23865.864"]
["2021-01-08 00:00:00","5.897","135.712","1.695","36.649","0.212","4.774","8.127","188.586","6.471","23038.782"]
["2021-01-09 00:00:00","7.651","186.005","0.317","7.645","0.215","5.176","10.224","245.207","6.391","24014.337"]
["2021-01-10 00:00:00","10.866","262.862","0.183","4.463","0.31","7.425","10.239","246.464","6.274","24114.744"]
["2021-01-11 00:00:00","12.191","292.185","0.84","19.96","0.326","7.757","9.94","237.771","6.168","23915.93"]
["2021-01-12 00:00:00","8.962","215.567","0.809","18.9","0.317","7.58","10.337","247.517","6.215","23952.738"]
["2021-01-13 00:00:00","9.869","242.254","0.755","18.312","0.301","7.348","9.952","243.813","6.187","24497.743"]
["2021-01-14 00:00:00","10.939","262.221","0.495","11.819","0.295","7.069","8.488","202.6","6.277","23894.712"]
["2021-01-15 00:00:00","11.949","285.856","0.85","20.164","0.298","7.117","7.287","174.386","6.336","23930.403"]
["2021-01-16 00:00:00","16.094","386.796","0.615","14.613","0.265","6.328","5.866","140.445","6.405","23941.977"]
["2021-01-17 00:00:00","19.892","475.955","0.41","9.872","0.225","5.397","5.317","127.186","6.497","23925.576"]
["2021-01-18 00:00:00","18.678","10.709","0.518","0.238","0.142","0","4.863","0","6.39","645.042"]
["2021-01-19 00:00:00","18.267","0.772","1.107","0.024","0.155","0.007","5.848","0.167","6.299","42.621"]
["2021-01-20 00:00:00","20.116","0","0.939","0","0.15","0","4.74","0","6.547","0"]
["2021-01-21 00:00:00","20.775","0","1.176","0","0.14","0","4.731","0","6.532","0"]
["2021-01-22 00:00:00","24.171","370.182","0.327","6.468","0.134","2.131","2.715","34.33","6.665","15208.182"]
["2021-01-23 00:00:00","17.704","415.05","0.348","8.174","0.125","2.949","2.016","47.67","6.713","23659.647"]
["2021-01-24 00:00:00","13.216","318.568","0.532","12.481","0.119","2.869","2.975","71.568","6.592","24086.751"]
["2021-01-25 00:00:00","15.28","362.544","1.189","27.186","0.115","2.74","3.918","92.226","6.583","23787.306"]
["2021-01-26 00:00:00","14.519","348.067","1.284","30.968","0.105","2.513","3.931","94.305","6.556","23932.617"]
["2021-01-27 00:00:00","14.254","339.969","1.038","24.762","0.105","2.497","4.703","112.089","6.589","23838.69"]
["2021-01-28 00:00:00","14.756","339.602","1.056","23.994","0.102","2.332","6.048","137.257","6.65","23076.098"]
["2021-01-29 00:00:00","13.843","330.309","0.614","14.704","0.099","2.338","5.878","139.211","6.672","23812.131"]
["2021-01-30 00:00:00","13.272","322.718","0.26","6.339","0.085","2.063","4.857","118.097","6.701","24311.931"]
["2021-01-31 00:00:00","13.658","316.474","0.298","6.697","0.102","2.334","3.547","80.277","6.668","22955.387"]
["平均值","12.535","233.170","0.692","13.320","0.201","4.299","6.483","138.504","6.458","20551.936"]
["最大值","24.171","475.955","1.695","36.649","0.326","7.757","10.337","247.517","6.713","24497.743"]
["最小值","5.249","0.000","0.182","0.000","0.085","0.000","2.016","0.000","6.168","0.000"]
["排放总量","","7228.258","","412.913","","133.264","","4293.612","","637110.022"]