{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202"],"read":"whole","date_system":"1900"}

{"sheet":"恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202","index":0,"n_rows":37,"n_cols":11,"rows_kept":37,"merged":[[0,0,0,10],[1,0,2,0],[1,2,1,3],[1,4,1,5],[1,6,1,7],[1,8,1,9]]}
["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报20214"]
["监测时间","水流量","氨氮",null,"COD",null,"总磷",null,"总氮",null,"pH"]
[null,"吨","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)",""]
["2021-04-01 00:00:00","25306.101","0.573","14.703","14.484","366.295","0.206","5.221","2.648","66.955","6.717"]
["2021-04-02 00:00:00","23888.102","0.787","19.262","12.283","289.817","0.231","5.546","3.031","71.806","6.677"]
["2021-04-03 00:00:00","24665.076","1.435","34.115","11.351","278.618","0.214","5.227","4.319","106.274","6.684"]
["2021-04-04 00:00:00","25557.537","0.272","6.92","9.73","248.532","0.148","3.79","4.198","107.343","6.703"]
["2021-04-05 00:00:00","24197.509","0.254","6.139","8.873","215.432","0.144","3.472","4.201","100.896","6.733"]
["2021-04-06 00:00:00","25958.916","0.874","22.629","10.327","268.141","0.169","4.384","4.067","105.834","6.742"]
["2021-04-07 00:00:00","25109.328","0.666","16.518","9.945","250.518","0.145","3.618","4.827","121.56","6.715"]
["2021-04-08 00:00:00","25212.873","0.162","4.079","9.153","231.139","0.153","3.843","4.89","123.526","6.757"]
["2021-04-09 00:00:00","25147.077","0.11","2.761","7.934","199.403","0.155","3.92","2.553","63.948","6.893"]
["2021-04-10 00:00:00","22307.164","0.267","5.424","8.284","187.746","0.221","4.873","2.325","51.844","6.829"]
["2021-04-11 00:00:00","25892.847","0.471","12.043","9.729","251.578","0.246","6.354","4.193","108.786","6.735"]
["2021-04-12 00:00:00","24972.903","0.121","3.015","9.797","244.295","0.215","5.369","4.323","108.003","6.764"]
["2021-04-13 00:00:00","25132.494","0.175","4.39","9.969","250.468","0.24","6.025","3.71","93.151","6.743"]
["2021-04-14 00:00:00","25271.178","0.463","11.536","8.92","226.2","0.248","6.259","3.783","95.724","6.693"]
["2021-04-15 00:00:00","23693.742","0.561","13.327","10.566","250.085","0.264","6.26","4.581","108.388","6.694"]
["2021-04-16 00:00:00","23973.459","0.299","7.122","14.97","358.657","0.229","5.491","6.102","146.141","6.689"]
["2021-04-17 00:00:00","23994.393","0.134","3.196","12.436","298.891","0.244","5.87","2.758","66.145","6.838"]
["2021-04-18 00:00:00","23967.876","0.154","3.698","10.491","249.604","0.251","6.033","2.6","62.75","6.854"]
["2021-04-19 00:00:00","21882.678","0.234","5.183","11.096","242.458","0.286","6.271","3.289","71.839","6.869"]
["2021-04-20 00:00:00","22418.196","0.194","4.324","12.079","269.439","0.292","6.537","3.794","84.831","6.731"]
["2021-04-21 00:00:00","22253.244","0.099","2.188","14.36","319.76","0.303","6.73","4.711","104.753","6.51"]
["2021-04-22 00:00:00","22866.675","0.111","2.518","13.374","306.705","0.331","7.582","4.757","108.821","6.485"]
["2021-04-23 00:00:00","22002.456","1.369","30.343","13.243","292.295","0.317","6.993","4.398","96.701","6.468"]
["2021-04-24 00:00:00","22122.909","0.872","18.866","12.762","282.397","0.245","5.391","5.376","118.479","6.392"]
["2021-04-25 00:00:00","16709.108","2.182","35.782","11.725","194.222","0.251","4.231","5.263","86.912","6.457"]
["2021-04-26 00:00:00","25253.43","0.907","22.691","13.647","345.29","0.209","5.242","7.747","195.709","6.338"]
["2021-04-27 00:00:00","25059.481","0.088","2.209","16.01","401.199","0.171","4.278","4.966","124.454","6.462"]
["2021-04-28 00:00:00","25144.584","0.094","2.342","20.604","518.355","0.223","5.611","3.592","90.128","6.497"]
["2021-04-29 00:00:00","24835.794","0.144","3.544","13.026","323.554","0.249","6.169","2.49","61.883","6.556"]
["2021-04-30 00:00:00","24622.782","0.275","6.696","12.565","309.722","0.281","6.896","3.261","80.475","6.518"]
["平均值","23980.664","0.478","10.919","11.791","282.361","0.229","5.450","4.092","97.802","6.658"]
["最大值","25958.916","2.182","35.782","20.604","518.355","0.331","7.582","7.747","195.709","6.893"]
["最小值","16709.108","0.088","2.188","7.934","187.746","0.144","3.472","2.325","51.844","6.338"]
["排放总量","719419.912","","327.563","","8470.815","","163.486","","2934.059",""]