{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202"],"read":"whole","date_system":"1900"}

{"sheet":"恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202","index":0,"n_rows":38,"n_cols":11,"rows_kept":38,"merged":[[0,0,0,10],[1,0,2,0],[1,2,1,3],[1,4,1,5],[1,6,1,7],[1,8,1,9]]}
["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报20215"]
["监测时间","水流量","氨氮",null,"COD",null,"总磷",null,"总氮",null,"pH"]
[null,"吨","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)",""]
["2021-05-01 00:00:00","25015.452","0.153","3.74","11.951","298.694","0.231","5.764","4.715","118.342","6.474"]
["2021-05-02 00:00:00","24480.111","0.714","17.67","13.403","327.987","0.24","5.908","4.269","104.963","6.455"]
["2021-05-03 00:00:00","25324.923","0.147","3.663","15.777","401.167","0.169","4.263","2.899","73.298","6.555"]
["2021-05-04 00:00:00","25551.264","0.099","2.514","17.187","434.658","0.248","6.323","2.104","54.187","6.58"]
["2021-05-05 00:00:00","25311.486","0.1","2.552","11.897","302.488","0.199","5.051","2.42","61.233","6.639"]
["2021-05-06 00:00:00","25274.031","0.195","4.914","10.663","269.176","0.282","7.137","2.83","71.535","6.621"]
["2021-05-07 00:00:00","25331.982","0.099","2.521","9.269","234.785","0.212","5.367","5.681","143.948","6.547"]
["2021-05-08 00:00:00","25257.723","0.109","2.769","10.037","253.551","0.247","6.247","6.291","158.862","6.502"]
["2021-05-09 00:00:00","25142.61","0.163","4.083","10.454","262.994","0.286","7.199","6.315","158.782","6.459"]
["2021-05-10 00:00:00","25182.405","0.304","7.593","10.949","275.863","0.239","6.004","5.583","140.887","6.405"]
["2021-05-11 00:00:00","25098.912","0.086","2.146","10.3","258.25","0.222","5.584","5.818","146.149","6.456"]
["2021-05-12 00:00:00","23965.998","0.094","2.229","9.909","237.725","0.255","6.123","6.525","156.335","6.415"]
["2021-05-13 00:00:00","24617.37","0.07","1.72","10.241","252.032","0.285","7.024","6.713","165.095","6.348"]
["2021-05-14 00:00:00","19398.4","0.088","1.61","9.804","192.791","0.257","4.887","8.017","159.728","6.275"]
["2021-05-15 00:00:00","1281.915","0.103","0.144","9.34","11.974","0.273","0.346","7.296","9.356","6.296"]
["2021-05-16 00:00:00","1150.326","0.103","0.144","9.34","10.743","0.273","0.324","7.296","8.39","6.261"]
["2021-05-17 00:00:00","8301.744","1.328","22.034","11.183","109.379","0.258","2.023","8.14","74.955","6.34"]
["2021-05-18 00:00:00","17328.243","1.776","29.999","11.538","192.202","0.087","1.484","9.802","173.726","6.227"]
["2021-05-19 00:00:00","23590.677","0.165","3.882","9.668","227.983","0.066","1.556","9.934","234.196","6.268"]
["2021-05-20 00:00:00","23956.278","0.797","18.226","9.222","220.871","0.071","1.698","6.223","149.389","6.374"]
["2021-05-21 00:00:00","23646.807","0.278","6.662","10.287","243.428","0.068","1.618","8.127","192.35","6.306"]
["2021-05-22 00:00:00","24635.861","0.124","3.084","9.482","234.465","0.092","2.271","6.726","165.85","6.368"]
["2021-05-23 00:00:00","25395.15","0.099","2.49","9.634","244.732","0.097","2.473","6.475","164.342","6.402"]
["2021-05-24 00:00:00","21704.719","0.082","1.702","8.722","192.524","0.119","2.596","7.705","164.864","6.427"]
["2021-05-25 00:00:00","26375.91","0.167","4.396","8.735","230.376","0.156","4.1","7.96","210.089","6.447"]
["2021-05-26 00:00:00","25751.598","0.195","5.114","9.42","242.654","0.178","4.572","6.883","177.129","6.509"]
["2021-05-27 00:00:00","25352.361","0.147","3.773","8.688","219.366","0.309","7.826","5.681","143.947","6.487"]
["2021-05-28 00:00:00","24124.194","0.159","3.628","8.242","198.977","0.292","7.043","6.29","152.005","6.402"]
["2021-05-29 00:00:00","24369.294","0.124","3.019","8.376","204.267","0.339","8.183","5.073","123.481","6.404"]
["2021-05-30 00:00:00","24230.61","0.143","3.351","8.328","202.676","0.343","8.278","4.653","113.056","6.399"]
["2021-05-31 00:00:00","24404.592","0.137","3.361","8.677","212.221","0.32","7.828","5.97","145.609","6.375"]
["平均值","22275.901","0.269","5.637","10.346","232.290","0.217","4.745","6.142","132.777","6.420"]
["最大值","26375.910","1.776","29.999","17.187","434.658","0.343","8.278","9.934","234.196","6.639"]
["最小值","1150.326","0.070","0.144","8.242","10.743","0.066","0.324","2.104","8.390","6.227"]
["排放总量","690552.946","","174.733","","7200.999","","147.100","","4116.078",""]