{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202"],"read":"whole","date_system":"1900"}

{"sheet":"恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202","index":0,"n_rows":37,"n_cols":11,"rows_kept":37,"merged":[[0,0,0,10],[1,0,2,0],[1,2,1,3],[1,4,1,5],[1,6,1,7],[1,8,1,9]]}
["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报20216"]
["监测时间","水流量","氨氮",null,"COD",null,"总磷",null,"总氮",null,"pH"]
[null,"吨","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)",""]
["2021-06-01 00:00:00","23966.097","0.24","6.087","11.371","276.169","0.308","7.407","4.587","109.564","6.464"]
["2021-06-02 00:00:00","23897.862","0.113","2.693","9.379","224.869","0.338","8.048","4.517","107.817","6.453"]
["2021-06-03 00:00:00","23773.74","0.135","3.268","7.914","188.965","0.251","5.952","6.725","160.044","6.39"]
["2021-06-04 00:00:00","23984.469","0.424","10.161","7.934","190.67","0.277","6.611","7.396","177.336","6.388"]
["2021-06-05 00:00:00","23774.94","0.942","21.304","7.978","189.356","0.276","6.544","8.626","206.001","6.357"]
["2021-06-06 00:00:00","23986.652","0.533","11.854","8.384","202.906","0.286","6.774","10.342","248.008","6.237"]
["2021-06-07 00:00:00","24033.843","0.168","3.995","8.23","198.116","0.304","7.323","9.716","233.246","6.251"]
["2021-06-08 00:00:00","23964.291","0.093","2.2","8.504","203.678","0.299","7.158","9.502","227.442","6.228"]
["2021-06-09 00:00:00","24071.694","0.075","1.788","8.302","200.323","0.246","5.936","7.094","170.467","6.307"]
["2021-06-10 00:00:00","21658.434","0.074","1.594","8.371","184.894","0.197","4.266","5.135","111.799","6.212"]
["2021-06-11 00:00:00","25676.355","0.123","3.227","9.981","257.497","0.272","6.996","5.241","134.301","6.419"]
["2021-06-12 00:00:00","24432.015","0.09","2.19","8.351","203.901","0.247","6.034","6.5","158.66","6.442"]
["2021-06-13 00:00:00","24501.565","0.094","2.293","10.798","264.104","0.336","8.219","5.831","143.313","6.443"]
["2021-06-14 00:00:00","24760.905","0.082","2.028","9.388","232.325","0.241","5.975","7.366","182.415","6.418"]
["2021-06-15 00:00:00","24104.397","0.091","2.233","9.203","222.132","0.294","7.09","7.96","192.141","6.423"]
["2021-06-16 00:00:00","22550.306","0.145","3.209","9.574","217.373","0.307","6.949","8.67","194.233","6.403"]
["2021-06-17 00:00:00","23956.008","0.11","2.667","10.121","242.364","0.309","7.397","7.919","189.536","6.303"]
["2021-06-18 00:00:00","24276.18","0.219","5.468","10.789","264.845","0.267","6.495","7.07","171.921","6.327"]
["2021-06-19 00:00:00","24032.238","0.105","2.496","11.024","264.243","0.324","7.762","7.483","179.682","6.334"]
["2021-06-20 00:00:00","23053.945","0.381","8.886","12.182","282.81","0.318","7.287","7.1","163.431","6.385"]
["2021-06-21 00:00:00","23823.54","0.746","17.299","12.696","302.573","0.226","5.338","6.86","163.445","6.375"]
["2021-06-22 00:00:00","24582.294","0.302","7.591","11.421","281.625","0.19","4.693","9.929","244.282","6.316"]
["2021-06-23 00:00:00","25248.51","0.24","6.086","10.656","268.368","0.188","4.727","10.169","257.337","6.337"]
["2021-06-24 00:00:00","24985.143","0.199","4.973","8.578","214.4","0.147","3.672","5.594","139.89","6.477"]
["2021-06-25 00:00:00","24034.892","0.249","6.001","10.89","262.385","0.179","4.3","7.382","176.996","6.475"]
["2021-06-26 00:00:00","24008.952","0.169","4.075","9.062","216.98","0.19","4.572","7.185","172.6","6.48"]
["2021-06-27 00:00:00","24229.665","0.179","4.355","10.633","256.309","0.247","5.967","6.38","154.776","6.476"]
["2021-06-28 00:00:00","23470.329","0.17","3.99","10.727","252.063","0.286","6.717","5.655","132.965","6.476"]
["2021-06-29 00:00:00","23382.558","0.177","4.137","10.223","241.328","0.32","7.481","8.043","187.581","6.414"]
["2021-06-30 00:00:00","23077.317","0.239","5.648","10.632","245.482","0.301","6.993","8.283","190.839","6.356"]
["平均值","23976.638","0.230","5.460","9.777","235.102","0.266","6.356","7.342","176.069","6.379"]
["最大值","25676.355","0.942","21.304","12.696","302.573","0.338","8.219","10.342","257.337","6.480"]
["最小值","21658.434","0.074","1.594","7.914","184.894","0.147","3.672","4.517","107.817","6.212"]
["排放总量","719299.136","","163.796","","7053.053","","190.683","","5282.068",""]