{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202"],"read":"whole","date_system":"1900"}

{"sheet":"恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202","index":0,"n_rows":38,"n_cols":11,"rows_kept":38,"merged":[[0,0,0,10],[1,0,2,0],[1,2,1,3],[1,4,1,5],[1,6,1,7],[1,8,1,9]]}
["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报20218"]
["监测时间","水流量","氨氮",null,"COD",null,"总磷",null,"总氮",null,"pH"]
[null,"吨","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)",""]
["2021-08-01 00:00:00","23932.122","0.142","3.414","8.517","203.914","0.289","6.933","4.723","113.021","6.391"]
["2021-08-02 00:00:00","24110.808","0.124","2.989","9.737","234.661","0.279","6.71","4.994","120.484","6.424"]
["2021-08-03 00:00:00","25301.106","0.135","3.444","9.095","231.16","0.276","7","6.136","155.074","6.39"]
["2021-08-04 00:00:00","25516.173","0.129","3.315","8.935","227.782","0.28","7.155","4.448","113.588","6.401"]
["2021-08-05 00:00:00","25026.375","0.134","3.369","8.899","222.545","0.277","6.941","4.777","119.45","6.371"]
["2021-08-06 00:00:00","24439.17","0.202","4.78","10.5","254.983","0.273","6.683","7.112","173.99","6.342"]
["2021-08-07 00:00:00","24136.026","0.147","3.511","9.86","237.925","0.28","6.756","6.904","166.328","6.311"]
["2021-08-08 00:00:00","24800.166","0.12","2.985","9.903","245.29","0.316","7.832","6.342","157.34","6.283"]
["2021-08-09 00:00:00","24039.726","0.13","3.103","10.995","264.166","0.319","7.672","7.152","171.916","6.259"]
["2021-08-10 00:00:00","25013.094","0.096","2.415","10.7","267.587","0.246","6.17","5.983","150.306","6.356"]
["2021-08-11 00:00:00","24357.753","0.1","2.453","10.52","257.176","0.258","6.291","4.32","105.357","6.393"]
["2021-08-12 00:00:00","23231.043","0.11","2.554","11.131","258.579","0.282","6.563","6.583","152.495","6.3"]
["2021-08-13 00:00:00","23087.343","0.214","4.955","11.967","276.692","0.289","6.666","8.726","201.402","6.274"]
["2021-08-14 00:00:00","24251.706","0.118","2.868","10.899","264.472","0.291","7.078","8.554","207.827","6.284"]
["2021-08-15 00:00:00","22932.345","0.134","3.071","9.808","225.63","0.289","6.615","6.22","142.574","6.413"]
["2021-08-16 00:00:00","23761.695","0.132","3.125","9.193","216.973","0.29","6.89","5.97","142.028","6.384"]
["2021-08-17 00:00:00","23842.182","0.129","3.087","9.023","215.468","0.275","6.573","8.558","204.052","6.274"]
["2021-08-18 00:00:00","23195.613","0.129","2.994","9.15","212.155","0.296","6.857","9.73","225.757","6.222"]
["2021-08-19 00:00:00","24398.484","0.105","2.562","9.196","224.055","0.294","7.167","7.261","176.921","6.278"]
["2021-08-20 00:00:00","24042.372","0.693","16.791","10.976","265.069","0.282","6.785","5.347","128.952","6.302"]
["2021-08-21 00:00:00","23687.325","0.528","11.844","10.767","254.354","0.266","6.184","6.692","159.25","6.203"]
["2021-08-22 00:00:00","23040.324","0.755","16.923","11.013","253.096","0.288","6.546","7.427","170.674","6.196"]
["2021-08-23 00:00:00","23171.709","0.605","13.965","11.385","263.791","0.257","5.92","7.525","174.09","6.281"]
["2021-08-24 00:00:00","23906.496","0.567","13.478","11.65","279.186","0.256","6.089","7.016","167.322","6.211"]
["2021-08-25 00:00:00","23527.005","0.397","9.034","11.191","263.777","0.226","5.294","7.98","188.052","6.191"]
["2021-08-26 00:00:00","23781.828","0.457","10.445","11.998","286.348","0.31","7.212","8.645","205.623","6.162"]
["2021-08-27 00:00:00","23558.916","0.598","14.128","12.523","295.994","0.276","6.499","8.015","188.576","6.221"]
["2021-08-28 00:00:00","23641.605","0.586","13.813","10.803","255.065","0.339","7.975","8.101","191.636","6.303"]
["2021-08-29 00:00:00","23808.411","0.614","14.602","12.081","287.495","0.293","6.985","8.091","192.613","6.268"]
["2021-08-30 00:00:00","23803.134","0.388","9.335","12.401","295.214","0.288","6.857","7.283","173.189","6.339"]
["2021-08-31 00:00:00","23870.976","0.109","2.602","10.567","252.433","0.234","5.595","3.577","85.304","6.561"]
["平均值","23974.614","0.285","6.708","10.496","251.388","0.281","6.726","6.780","162.103","6.309"]
["最大值","25516.173","0.755","16.923","12.523","295.994","0.339","7.975","9.730","225.757","6.561"]
["最小值","22932.345","0.096","2.415","8.517","203.914","0.226","5.294","3.577","85.304","6.162"]
["排放总量","743213.031","","207.954","","7793.035","","208.493","","5025.191",""]