{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202"],"read":"whole","date_system":"1900"}

{"sheet":"恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202","index":0,"n_rows":37,"n_cols":11,"rows_kept":37,"merged":[[0,0,0,10],[1,0,2,0],[1,1,1,2],[1,3,1,4],[1,5,1,6],[1,7,1,8]]}
["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报20219"]
["监测时间","COD",null,"氨氮",null,"总磷",null,"总氮",null,"pH","水流量"]
[null,"浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","","吨"]
["2021-09-01 00:00:00","11.195","268.498","0.129","3.084","0.258","6.179","4.413","105.835","6.609","23975.172"]
["2021-09-02 00:00:00","10.905","264.053","0.165","4.044","0.297","7.213","4.45","107.876","6.54","24225.066"]
["2021-09-03 00:00:00","11.639","285.652","0.441","10.875","0.28","6.836","5.763","140.942","6.462","24440.787"]
["2021-09-04 00:00:00","10.525","255.767","0.353","8.406","0.221","5.333","5.294","127.922","6.452","24315.772"]
["2021-09-05 00:00:00","10.307","250.733","0.279","6.759","0.254","6.182","3.082","75.138","6.571","24330.963"]
["2021-09-06 00:00:00","10.946","269.915","0.622","15.621","0.258","6.353","4.133","101.362","6.587","24592.446"]
["2021-09-07 00:00:00","11.137","273.271","0.822","19.619","0.228","5.547","4.21","103.194","6.608","24515.935"]
["2021-09-08 00:00:00","11.021","269.981","0.161","3.897","0.256","6.298","3.051","74.475","6.646","24471.045"]
["2021-09-09 00:00:00","10.47","243.563","0.088","2.01","0.235","5.442","4.352","101.291","6.511","23243.883"]
["2021-09-10 00:00:00","11.13","270.751","0.231","5.568","0.292","7.109","3.908","95.351","6.544","24393.09"]
["2021-09-11 00:00:00","7.995","179.539","0.386","8.585","0.26","5.872","3.843","86.015","6.464","22481.165"]
["2021-09-12 00:00:00","8.745","208.449","0.229","5.371","0.268","6.374","3.769","89.82","6.542","23785.073"]
["2021-09-13 00:00:00","8.518","202.132","0.71","16.715","0.261","6.194","4.238","100.629","6.521","23757.432"]
["2021-09-14 00:00:00","7.99","196.763","0.374","9.172","0.244","5.998","4.498","110.891","6.529","24648.18"]
["2021-09-15 00:00:00","8.876","215.413","0.361","8.602","0.248","5.984","4.187","101.279","6.612","24200.691"]
["2021-09-16 00:00:00","8.331","196.963","0.868","20.39","0.277","6.554","4.383","103.819","6.571","23696.247"]
["2021-09-17 00:00:00","7.665","183.763","0.33","7.957","0.302","7.238","4.315","103.386","6.612","23963.577"]
["2021-09-18 00:00:00","7.89","188.37","0.83","19.825","0.32","7.636","4.479","107.096","6.536","23889.867"]
["2021-09-19 00:00:00","8.271","197.013","0.509","12.016","0.319","7.578","4.741","113.13","6.556","23832.366"]
["2021-09-20 00:00:00","8.143","194.871","0.063","1.514","0.299","7.149","4.908","117.463","6.6","23944.5"]
["2021-09-21 00:00:00","7.958","192.12","0.127","3.071","0.301","7.253","4.949","119.484","6.466","24138.579"]
["2021-09-22 00:00:00","7.689","183.628","0.457","10.817","0.202","4.843","5.65","135.055","6.484","23893.389"]
["2021-09-23 00:00:00","7.038","167.733","0.114","2.734","0.177","4.222","3.918","92.955","6.716","23815.587"]
["2021-09-24 00:00:00","9.096","214.949","0.624","14.734","0.237","5.601","3.404","80.239","6.634","23587.203"]
["2021-09-25 00:00:00","9.16","220.981","0.979","23.148","0.231","5.566","4.97","119.975","6.547","24120.354"]
["2021-09-26 00:00:00","9.483","224.088","0.442","10.327","0.263","6.198","3.991","94.273","6.576","23608.467"]
["2021-09-27 00:00:00","8.286","195.33","0.426","10.384","0.301","7.124","3.504","82.47","6.604","23571.966"]
["2021-09-28 00:00:00","8.121","192.173","0.547","12.743","0.261","6.159","4.675","111.078","6.49","23704.545"]
["2021-09-29 00:00:00","8.935","210.764","0.205","4.955","0.278","6.561","4.118","97.119","6.611","23583.198"]
["2021-09-30 00:00:00","10.129","244.655","0.528","12.863","0.326","7.804","4.904","117.085","6.505","23892.432"]
["平均值","9.253","222.063","0.413","9.860","0.265","6.347","4.337","103.888","6.557","23953.966"]
["最大值","11.639","285.652","0.979","23.148","0.326","7.804","5.763","140.942","6.716","24648.180"]
["最小值","7.038","167.733","0.063","1.514","0.177","4.222","3.051","74.475","6.452","22481.165"]
["排放总量","","6661.881","","295.806","","190.400","","3116.647","","718618.977"]