{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202"],"read":"whole","date_system":"1900"}

{"sheet":"恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202","index":0,"n_rows":38,"n_cols":11,"rows_kept":38,"merged":[[0,0,0,10],[1,0,2,0],[1,1,1,2],[1,3,1,4],[1,5,1,6],[1,7,1,8]]}
["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202110"]
["监测时间","COD",null,"氨氮",null,"总磷",null,"总氮",null,"pH","水流量"]
[null,"浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","","吨"]
["2021-10-01 00:00:00","9.354","225.077","0.605","14.376","0.385","9.224","4.709","112.959","6.484","24011.469"]
["2021-10-02 00:00:00","8.551","203.321","0.407","9.269","0.328","7.805","3.466","82.117","6.625","23839.02"]
["2021-10-03 00:00:00","8.65","207.241","0.488","11.658","0.319","7.636","4.456","106.894","6.594","23960.175"]
["2021-10-04 00:00:00","7.441","177.597","0.097","2.298","0.339","8.088","2.886","68.933","6.695","23897.814"]
["2021-10-05 00:00:00","6.459","156.404","0.211","5.17","0.394","9.422","3.238","77.972","6.55","24013.704"]
["2021-10-06 00:00:00","10.026","240.807","0.769","18.325","0.377","9.018","4.282","102.658","6.58","24006.555"]
["2021-10-07 00:00:00","9.534","229.365","0.689","16.443","0.364","8.792","4.516","107.946","6.611","23989.296"]
["2021-10-08 00:00:00","10.045","243.961","0.545","12.99","0.38","9.189","4.793","116.215","6.593","24325.371"]
["2021-10-09 00:00:00","11.586","295.331","0.185","4.862","0.342","8.666","1.692","43.074","6.739","25356.258"]
["2021-10-10 00:00:00","8.047","203.136","0.118","3.028","0.408","10.441","1.796","45.299","6.621","25483.296"]
["2021-10-11 00:00:00","8.298","192.687","0.111","2.542","0.373","8.621","3.636","83.875","6.645","23046.78"]
["2021-10-12 00:00:00","5.703","136.85","0.129","3.106","0.352","8.398","5.696","136.783","6.683","23963.244"]
["2021-10-13 00:00:00","8.804","212.829","0.117","2.798","0.312","7.51","7.727","186.266","6.699","24064.761"]
["2021-10-14 00:00:00","10.719","267.601","0.097","2.414","0.3","7.491","5.298","133.349","6.727","25002.663"]
["2021-10-15 00:00:00","10.619","253.772","0.112","2.7","0.325","7.823","4.686","112.804","6.805","24053.412"]
["2021-10-16 00:00:00","9.503","233.755","0.215","5.318","0.353","8.67","5.588","137.428","6.776","24625.428"]
["2021-10-17 00:00:00","7.288","177.695","0.147","3.589","0.342","8.319","7.18","175.338","6.725","24369.924"]
["2021-10-18 00:00:00","7.843","187.872","0.306","7.374","0.284","6.828","8.779","210.36","6.586","23966.919"]
["2021-10-19 00:00:00","8.106","195.42","0.139","3.353","0.208","5.013","9.299","223.582","6.489","24029.838"]
["2021-10-20 00:00:00","8.209","196.122","0.132","3.164","0.16","3.822","8.95","214.02","6.449","23912.94"]
["2021-10-21 00:00:00","8.006","181.024","0.173","3.872","0.195","4.371","8.734","197.601","6.418","22572.173"]
["2021-10-22 00:00:00","7.38","176.64","0.139","3.325","0.254","6.074","8.81","210.59","6.409","23896.8"]
["2021-10-23 00:00:00","8.022","185.76","0.244","5.87","0.29","6.432","9.263","211.404","6.249","22868.3"]
["2021-10-24 00:00:00","7.237","174.42","0.298","7.06","0.303","7.279","9.432","227.25","6.279","24097.05"]
["2021-10-25 00:00:00","7.818","186.604","0.134","3.217","0.34","8.124","9.284","221.68","6.386","23889.474"]
["2021-10-26 00:00:00","7.373","163.02","0.24","5.701","0.308","6.928","8.372","182.883","6.349","22043.538"]
["2021-10-27 00:00:00","8.414","179.531","0.846","17.511","0.322","7.178","8.347","180.171","6.303","21722.718"]
["2021-10-28 00:00:00","8.612","199.096","0.652","14.695","0.344","8.057","8.941","207.725","6.261","23309.847"]
["2021-10-29 00:00:00","11.759","276.776","0.612","13.498","0.359","8.428","8.714","204.55","6.345","23502.636"]
["2021-10-30 00:00:00","11.13","268.509","0.092","2.176","0.367","8.892","8.591","206.849","6.361","24098.181"]
["2021-10-31 00:00:00","12.322","279.936","0.049","1.092","0.387","8.795","8.501","192.209","6.251","22642.029"]
["平均值","8.802","209.941","0.293","6.864","0.326","7.785","6.441","152.283","6.525","23824.568"]
["最大值","12.322","295.331","0.846","18.325","0.408","10.441","9.432","227.250","6.805","25483.296"]
["最小值","5.703","136.850","0.049","1.092","0.160","3.822","1.692","43.074","6.249","21722.718"]
["排放总量","","6508.159","","212.794","","241.334","","4720.784","","738561.613"]