{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202"],"read":"whole","date_system":"1900"}

{"sheet":"恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202","index":0,"n_rows":38,"n_cols":12,"rows_kept":38,"merged":[[0,0,0,11],[1,0,2,0],[1,1,1,2],[1,3,1,4],[1,5,1,6],[1,7,1,8]]}
["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202112"]
["监测时间","COD",null,"氨氮",null,"总磷",null,"总氮",null,"pH","水流量","水温"]
[null,"浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","","吨","℃"]
["2021-12-01 00:00:00","16.743","399.899","0.232","5.296","0.377","8.979","7.956","189.979","6.242","23877.082","0"]
["2021-12-02 00:00:00","16.139","373.977","0.414","8.595","0.367","8.3","8.956","207.589","6.132","23182.403","0"]
["2021-12-03 00:00:00","16.5","396.356","0.375","8.978","0.32","7.671","8.74","208.918","6.172","23982.774","0"]
["2021-12-04 00:00:00","5.578","135.751","0.069","1.711","0.359","8.69","8.435","204.845","6.172","24315.294","0"]
["2021-12-05 00:00:00","4.756","114.154","0.07","1.714","0.359","8.536","8.001","191.189","6.094","23927.4","0"]
["2021-12-06 00:00:00","","","","","","","","","","",""]
["2021-12-07 00:00:00","17.705","416.603","0.529","12.388","0.339","7.926","8.086","191.009","6.114","23358.345","20.061"]
["2021-12-08 00:00:00","16.343","392.767","0.453","10.495","0.323","7.771","8.341","200.763","6.216","24103.413","19.941"]
["2021-12-09 00:00:00","17.258","411.352","0.421","9.654","0.36","8.513","7.859","186.814","6.197","23868.299","21.114"]
["2021-12-10 00:00:00","16.403","396.819","0.386","8.868","0.354","8.396","6.94","165.537","6.309","23899.86","21.35"]
["2021-12-11 00:00:00","17.257","413.189","0.553","13.277","0.298","7.132","6.87","164.325","6.095","24011.853","20.679"]
["2021-12-12 00:00:00","16.175","347.157","0.91","18.571","0.298","6.301","6.707","137.811","6.711","20952.163","22.039"]
["2021-12-13 00:00:00","16.33","398.054","0.819","20.009","0.316","7.683","6.664","161.972","6.73","24320.613","22.5"]
["2021-12-14 00:00:00","17.081","398.646","0.474","11.025","0.271","6.373","6.983","162.714","6.723","23357.799","22.527"]
["2021-12-15 00:00:00","16.086","389.463","0.537","12.599","0.288","6.881","7.43","178.82","6.72","24171","22.693"]
["2021-12-16 00:00:00","16.413","400.52","0.13","3.101","0.254","6.174","6.586","160.048","6.731","24350.004","22.883"]
["2021-12-17 00:00:00","19.422","465.105","0.415","10.154","0.312","7.384","4.34","102.453","6.831","23729.547","22.955"]
["2021-12-18 00:00:00","17.26","377.961","1.694","36.246","0.279","5.938","5.442","116.037","6.96","21284.322","23.114"]
["2021-12-19 00:00:00","17.92","425.928","0.452","10.519","0.315","7.475","6.289","149.642","6.948","23856.282","22.658"]
["2021-12-20 00:00:00","17.89","422.481","0.366","8.352","0.315","7.401","7.715","182.341","6.795","23648.254","21.859"]
["2021-12-21 00:00:00","14.815","353.277","0.622","15.536","0.324","7.942","8.377","201.467","6.691","24153.189","21.46"]
["2021-12-22 00:00:00","16.46","416.405","0.271","7","0.243","6.161","5.178","130.728","6.887","25270.524","19.902"]
["2021-12-23 00:00:00","13.508","334.119","0.051","1.296","0.257","6.361","5.597","138.72","6.833","24723.705","20.027"]
["2021-12-24 00:00:00","8.941","218.456","0.175","4.364","0.278","6.809","5.021","122.415","6.839","24502.879","20.991"]
["2021-12-25 00:00:00","10.047","244.832","0.906","21.344","0.285","6.544","4.826","110.263","6.921","23163.438","21.414"]
["2021-12-26 00:00:00","19.457","470.777","0.701","17.108","0.263","6.26","5.158","122.488","6.909","24004.428","21.527"]
["2021-12-27 00:00:00","18.395","453.443","0.78","19.396","0.213","5.254","5.6","137.888","6.901","24671.094","21.196"]
["2021-12-28 00:00:00","15.088","372.345","0.752","18.966","0.16","3.94","5.259","128.065","6.92","24388.758","19.894"]
["2021-12-29 00:00:00","13.191","320.743","0.18","4.416","0.186","4.549","6.029","146.961","6.824","24356.112","19.384"]
["2021-12-30 00:00:00","","","","","","","","","","",""]
["2021-12-31 00:00:00","16.407","160.208","0.044","0.429","0.147","1.444","7.443","72.661","6.639","9598.416","20.143"]
["平均值","15.364","359.337","0.475","11.083","0.292","6.855","6.787","157.740","6.595","23345.836","17.666"]
["最大值","19.457","470.777","1.694","36.246","0.377","8.979","8.956","208.918","6.960","25270.524","23.114"]
["最小值","4.756","114.154","0.044","0.429","0.147","1.444","4.340","72.661","6.094","9598.416","0.000"]
["排放总量","","10420.787","","321.407","","198.788","","4574.462","","677029.250",""]