{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202"],"read":"whole","date_system":"1900"}

{"sheet":"恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报202","index":0,"n_rows":37,"n_cols":12,"rows_kept":37,"merged":[[0,0,0,11],[1,0,2,0],[1,1,1,2],[1,3,1,4],[1,5,1,6],[1,7,1,8]]}
["恩平市生活污水处理厂恩平生活污水厂排放口企业监测数据月报20224"]
["监测时间","COD",null,"氨氮",null,"总磷",null,"总氮",null,"pH","水流量","水温"]
[null,"浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","浓度(mg/L)","排放量(千克)","","吨","℃"]
["2022-04-01 00:00:00","15.534","382.872","0.482","11.879","0.232","5.692","3.754","92.121","6.516","24582.496","21.813"]
["2022-04-02 00:00:00","9.008","227.35","0.422","10.801","0.269","6.788","5.4","136.103","6.65","25213.822","20.821"]
["2022-04-03 00:00:00","9.498","224.618","0.197","4.646","0.265","6.301","4.575","108.825","6.785","23853.699","21.634"]
["2022-04-04 00:00:00","8.928","220.689","0.23","5.605","0.251","6.219","4.143","102.617","6.741","24766.766","21.593"]
["2022-04-05 00:00:00","9.055","228.167","0.779","19.66","0.224","5.629","4.758","120.001","6.653","25179.955","21.819"]
["2022-04-06 00:00:00","7.852","192.52","0.047","1.176","0.154","3.774","5.473","134.402","6.691","24469.656","22.253"]
["2022-04-07 00:00:00","7.112","169.4","0.03","0.732","0.153","3.655","4.265","102.325","6.614","23788.613","22.689"]
["2022-04-08 00:00:00","12.486","205.989","0.155","3.718","0.187","3.682","3.852","79.343","6.678","19537.164","23.067"]
["2022-04-09 00:00:00","停运","停运","停运","停运","停运","停运","停运","停运","停运","停运","停运"]
["2022-04-10 00:00:00","停运","停运","停运","停运","停运","停运","停运","停运","停运","停运","停运"]
["2022-04-11 00:00:00","20.247","392.667","0.078","1.612","0.161","3.027","6.335","133.222","6.528","19228.75","23.101"]
["2022-04-12 00:00:00","20.392","490.21","0.041","0.997","0.1","2.406","7.446","178.874","6.541","24048.906","23.564"]
["2022-04-13 00:00:00","21.707","550.905","0.05","1.266","0.139","3.518","4.158","105.198","6.749","25364.861","23.838"]
["2022-04-14 00:00:00","22.838","577.49","0.457","11.458","0.16","4.043","5.106","129.469","6.812","25283.808","24.042"]
["2022-04-15 00:00:00","23.528","590.513","0.24","6.091","0.162","4.068","4.736","118.748","6.841","25102.129","24.17"]
["2022-04-16 00:00:00","25.093","634.95","0.077","1.959","0.177","4.469","4.798","121.413","6.827","25303.533","24.145"]
["2022-04-17 00:00:00","23.574","580.911","0.027","0.68","0.17","4.198","4.882","120.255","6.785","24637.125","23.628"]
["2022-04-18 00:00:00","23.475","580.675","0.036","0.889","0.198","4.887","5.108","126.129","6.779","24737.018","22.866"]
["2022-04-19 00:00:00","23.154","562.518","0.033","0.786","0.267","6.477","5.594","135.759","6.813","24296.305","22.406"]
["2022-04-20 00:00:00","22.811","574.42","0.034","0.855","0.266","6.702","6.68","168.299","6.733","25189.269","22.218"]
["2022-04-21 00:00:00","22.777","571.352","0.019","0.479","0.305","7.635","6.951","174.356","6.681","25079.408","22.478"]
["2022-04-22 00:00:00","22.377","559.083","0.242","6.058","0.315","7.864","5.478","136.914","6.666","24989.701","22.907"]
["2022-04-23 00:00:00","21.632","538.762","0.181","4.628","0.361","9.001","5.352","133.184","6.66","24901.822","23.415"]
["2022-04-24 00:00:00","21.343","527.286","0.032","0.791","0.295","7.29","3.475","85.864","6.771","24711.9","23.913"]
["2022-04-25 00:00:00","21.232","525.013","0.067","1.672","0.293","7.249","2.75","68.106","6.816","24734.164","24.446"]
["2022-04-26 00:00:00","21.763","529.315","0.038","0.91","0.258","6.286","3.047","74.183","6.821","24321.91","24.863"]
["2022-04-27 00:00:00","21.312","522.952","0.143","3.538","0.195","4.794","3.322","81.495","6.769","24527.598","25.026"]
["2022-04-28 00:00:00","21.804","537.955","0.061","1.511","0.22","5.437","3.759","92.918","6.753","24664.295","25.114"]
["2022-04-29 00:00:00","22.66","553.38","0.146","3.597","0.245","5.997","4.151","101.691","6.77","24445.064","25.196"]
["2022-04-30 00:00:00","25.039","614.668","0.412","10.233","0.277","6.808","5.383","132.164","6.753","24545.541","25.605"]
["平均值","18.865","459.523","0.170","4.222","0.225","5.496","4.812","117.642","6.721","24339.474","23.308"]
["最大值","25.093","634.950","0.779","19.660","0.361","9.001","7.446","178.874","6.841","25364.861","25.605"]
["最小值","7.112","169.400","0.019","0.479","0.100","2.406","2.750","68.106","6.516","19228.750","20.821"]
["排放总量","","12866.630","","118.227","","153.896","","3293.978","","681505.278",""]