{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["Sheet1","Sheet2","Sheet3","Sheet4"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":34,"n_cols":8,"rows_kept":34,"merged":[[0,0,0,7],[1,0,1,7],[3,0,13,0],[14,0,14,6],[16,0,22,0],[23,0,23,6],[25,0,26,0],[27,0,27,6],[29,0,30,0],[33,0,33,6],[35,1,35,7]],"flags":["formulas_cached_only"]}
["附件1："]
["实验室升级改造清单"]
["项目","序号","品目","材质","规格","单位","数量","备注"]
["色谱室",1,"长集气罩","PP","1500*800","个",1]
[null,2,"管道","PP","φ400","米",10,"室内2+楼间距3+天台距离3+预留2"]
[null,3,"弯头","PP","φ400","个",2]
[null,4,"设备移位","/","/","项",1,"约10米距离（塔体、风机利旧）"]
[null,5,"喷淋塔翻新外漆","环保漆","/","项",1]
[null,6,"加环保球","PE","小号","项",1]
[null,7,"雨帽","PP","φ400","个",1]
[null,8,"水泵","/","/","个",1]
[null,9,"水泥基座","砖+水泥","1500*2000","项",1]
[null,10,"五金件","镀锌","/","项",1]
[null,11,"吊车费","/","/","次",1]
["合计",{"$nulls":6},"A项"]
["项目","序号","品目","材质","规格","单位","数量","备注"]
["通风厨",1,"包含变频箱和风机","九州4KW","2880-5530风量","个",1]
[null,2,"喷淋塔","PP","1000*3200米","个",1,"含水泵、环保球"]
[null,3,"管道","PP","φ400","米",8,"塔高3+链接1+排气2+预留2"]
[null,4,"弯头","PP","φ400","个",3]
[null,5,"五金件","镀锌","/","项",1]
[null,6,"旧水泥基座扩建","砖+水泥","100*1000","项",2,"旧基座外围加2行砖头扩大"]
[null,7,"雨帽","PP","φ400","个",1]
["合计",{"$nulls":6},"B项"]
["项目","序号","品目","材质","规格","单位","数量","备注"]
["侧实验室",1,"排气扇","250w220v","600*600","个",1,"含切割防盗网"]
[null,2,"隔虫网","自带","/","/","/"]
["合计",{"$nulls":6},"C项"]
["项目","序号","品目","材质","规格","单位","数量","备注"]
["实验室墙面修复",1,"色谱室","/","/","项",1]
[null,2,"侧实验室","/","/","项",1]
["天花维修",3,"实验室区域",null,null,"项",1]
["加装密码锁",4,"实验室",null,null,"项",2]
[{"$nulls":7},"含1%环保服务增值发票"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet4","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}